# Information for Panel Engineers who operate in Scotland

# Reservoirs (Scotland) Act 2011

If you would like this document in an accessible format, such as large print, audio recording or braille, please contact SEPA by emailing equalities@sepa.org.uk.

Version Control

| Version | Date | Amendments |
| --- | --- | --- |
| 1 | 2016 | Original document. |
| 2 | MAR 2026 | Document re-formatted to meet the current accessibility policy. The word ‘leaflet’ was amended to ‘document’. |

Table of Contents

1.	Reservoirs (Scotland) Act 2011	3

2.	Risk Designation	3

3.	Engineer Responsibilities	4

3.1	Panel Engineer responsibilities	4

3.2	Construction and alteration	4

3.3	Inspecting Engineers	5

3.4	Supervising Engineers	7

4.	Further sources of information	8

4.1	Reservoirs Team	8

4.2	SEPA	8

4.3	Scottish Government Panel Engineer List	8

4.4	Scottish Government	8

4.5	Institution of Civil Engineers	8

4.6	British Dam Society	8

4.7	International Commission on Large Dams	9

# Reservoirs (Scotland) Act 2011

The Reservoirs (Scotland) Act 2011 replaces the Reservoirs Act 1975, transferring responsibility for regulating reservoir safety from local authorities to the Scottish Environment Protection Agency (SEPA).

On 1st April 2016, SEPA took on full regulatory control of the safety of reservoirs over 25,000m3 in Scotland.  This document highlights the main changes affecting Panel Engineers, however, we encourage all Panel Engineers to become familiar with all sections of The 2011 Act, which could affect their role.  Please see the end of this document for information on how to access The 2011 Act and contact SEPA’s Reservoirs Team.

# Risk Designation

Risk Designations of High, Medium or Low have been assigned to each registered reservoir by SEPA, based on the consequences of an uncontrolled release of water.  Different levels of statutory monitoring and inspection should be undertaken based on the risk designation.  A briefing note and guidance document have been produced on risk designations, which can be found on SEPA’s Reservoirs webpages.

Reservoirs 1975		                Reservoirs (Scotland) Act 2011

| All sites required to appoint a Supervising Engineer to be available 24/7 & undertake regular inspections. All sites required to appoint an Inspecting Engineer at least once every 10 years (or when recommended by Supervising Engineer). | High Risk | Required to appoint a Supervising Engineer at all times. Required to appoint an Inspecting Engineer at least once every 10 years (or when recommended by Supervising Engineer). |
| --- | --- | --- |
|  | Medium Risk | Required to appoint a Supervising Engineer at all times. Only required to appoint an Inspecting Engineer when recommended by Supervising Engineer. |
|  | Low Risk | No statutory requirement to appoint either a Supervising or Inspecting Engineer. |

# Engineer Responsibilities

## Panel Engineer responsibilities

For Panel Engineers to operate in Scotland they must apply to Scottish Ministers to be appointed to the Scottish panels. An ‘eligible persons’ application form can be found on the Scottish Government reservoirs webpage.

Copies of all reports, statements and certificates required by the Act need to be copied to SEPA within 28 days of issue. The form and content of the certificates, statements and reports that are required to be produced under the 2011 Act are contained within ‘The Reservoirs (Scotland) Regulations 2016’ which is available on the SEPA website.

## Construction and alteration

Construction Engineers are required to be appointed for any work in increasing or decreasing capacity, including discontinuance and abandonment of reservoirs. (Section 32).

- Where a reservoir is being constructed or altered (but not discontinued or abandoned) the Construction Engineer may give the Reservoir Manager a safety report. (Section 34 (3)).

- Where a reservoir is being restored to use, discontinued or abandoned the Construction Engineer must give the Reservoir Manager a safety report. (Section 34 (4)).

- Where a safety report is issued for restoration, discontinuance or abandonment then it must be issued within 9 months of the Construction Engineer appointment. Thereafter the Construction Engineer must provide a copy of the safety report to SEPA within 28 days of issue. (Section 34 (5) & (7)).

- Section 35 of the 2011 Act details what must be contained within the safety report.

- Where a safety report contains measures, the Construction Engineer must issue a safety measure certificate to the Reservoir Manager not later than 28 days after being satisfied that it has been completed. (Section 36).

- A copy of any safety measure certificates must be issued to SEPA by the Construction Engineer within 28 days of original issue. (Section 36).

- Under the 1975 Act there was previously a minimum period of 3 years between issue of the first preliminary certificate and the final certificate. This has been removed in the 2011 Act and no minimum time period is specified. It is up to the Construction Engineer to decide when they are satisfied. (Section 39).

## Inspecting Engineers

Under the 1975 Act there was a requirement for an inspection to be carried out as soon as practicable after the carrying out of any works which might affect the safety of the reservoir but which had not been designed and supervised by a Qualified Civil Engineer. This is not in the 2011 Act. It will be up to the Supervising Engineer to decide if such works have been carried out and to recommend to the Reservoir Manager that an inspection be carried out. (Section 46 (1) (b)).

There is a 9 month maximum period for submission of the Inspecting Engineer’s report. This is mandatory and the Inspecting Engineer must ensure the report is sent to the Reservoir Manager within this period. (Section 47 (1) (b)).

- A copy of the Inspecting Engineer’s report must be sent to SEPA and the Supervising Engineer within 28 days of issue to the Reservoir Manager. (Section 47 (4)).

- Safety measures contained in the inspection reports can include maintenance measures. (Section 47 (3) (a)).

- Inspecting Engineers must state if any measures that are contained in the report were included in the previous report. (Section 47 (3) (b)).

- If previous measures contained in the last report have not been undertaken and are now not required, the Inspecting Engineer must give the reasons why they are no longer required. (Section 47 (3) (c)).

- Where an inspection report contains maintenance measures that are to be monitored by the Supervising Engineer, there is a requirement to issue interim inspection compliance certificates or inspection compliance certificates. (Section 48 (9)).

- Where an inspection report contains a measure in the interests of safety it must state the period of time within which it must be completed. (Section 47 (3) (d) (ii)).

- The 2011 Act introduces interim inspection compliance certificates. These must be issued to the Reservoir Manager within 28 days of the appointed Engineer being satisfied that the measure has been undertaken and then copied to SEPA within 28 days of issue. Different qualified Engineers can be appointed for different measures. (Section 48 (2), (3) and (4)).

- Inspection compliance certificates are to be issued within 28 days by the inspecting or other qualified Engineer once they are satisfied that all measures contained within the report are complete. Any Engineer signing the inspection compliance certificate can regard interim inspection compliance certificates as conclusive that the measure has been taken. (Section 48 (6) and (7)).

## Supervising Engineers

Requirements on the Supervising Engineer have changed under the 2011 Act and these are noted in Section 50.

- The Supervising Engineer must produce a written statement at least every 12 months which must be provided to the Reservoir Manager and copied to SEPA within 28 days of issue.

- There is a requirement for a Supervising Engineer to supervise any drawdown or to nominate a representative to do this. (Section 50 (2) (I)).

- Supervising Engineers have the power to require the Reservoir Manager to carry out visual inspections of the reservoir at periods specified by the Supervising Engineer. (Section 50 (6) requires the Reservoir Manager to maintain a written record of such inspections. Section 50 (4)).

# Further sources of information

## Reservoirs Team

Reservoirs Team, SEPA, Angus Smith Building, Unit 6, 4 Parklands Avenue, Holytown, Motherwell, ML1 4WQ, Email: reservoirs@sepa.org.uk, Telephone: 03000 99 66 99.

## SEPA

As the enforcement authority for reservoir safety in Scotland the SEPA website hosts comprehensive information on reservoir safety. We also have a national, strategic role for flood risk management and are the flood warning authority for Scotland.

## Scottish Government Panel Engineer List

Scottish Government Panel Engineers List

## Scottish Government

The Scottish Government oversees the implementation of the Reservoirs (Scotland) Act 2011. A list of Panel Engineers is available from the Scottish Government website, along with information on development of the new legislation.

## Institution of Civil Engineers

The Institution of Civil Engineers (ICE) seeks to advance the knowledge, practice and business of civil Engineering, to promote the breadth and value of the civil Engineer’s global contribution to sustainable, economic growth, and ethical standards, and to include in membership all those involved in the profession. The ICE, through its Reservoirs Committee, advises government ministers on the appointment of Panel Engineers.

## British Dam Society

The British Dam Society (BDS) is an Associated Society of the Institution of Civil Engineers. It exists to advance the education of the public and the profession in technical subjects relating to the planning, design, construction, maintenance, operation, safety, environmental and social issues of dams and reservoirs. The BDS is also a member of the International Commission on Large Dams (ICOLD).

## International Commission on Large Dams

International Commission on Large Dams (ICOLD) comprises 82 countries and seeks to develop dams in a technically safe, ecological and socio-economically sustainable manner.