# Reservoirs briefing note: risk designation

# Reservoirs (Scotland) Act 2011

If you would like this document in an accessible format, such as large print, audio recording or braille, please contact SEPA by emailing equalities@sepa.org.uk.

Version Control

| Version | Date | Amendments |
| --- | --- | --- |
| 1 | 2016 | Original document. |
| 2 | MAR 2026 | Document re-formatted to meet the current accessibility policy. No text changes were made. |

In this briefing you will find information about:

- Reservoir risk designation.

- Assessing the adverse consequences of an uncontrolled release of water.

- A proportionate approach to reservoir regulation.

- Further information.

# Reservoir Risk Designation

Under the Reservoirs (Scotland) Act 2011 (the 2011 Act) SEPA is required to assign a risk designation to each registered reservoir. The 2011 Act states that the risk designation should take account of the consequence of an uncontrolled release of water from the reservoir as well as the probability of such a release. However, as there is currently no industry agreed standard for assessing the probability of an uncontrolled release that can be applied consistently at a national scale, SEPA will be basing the risk designation on the consequence aspect alone.

The risk designation categories that can be assigned to a controlled reservoir are high, medium or low.

Although a reservoir may be assigned a high risk designation it does not mean that the structure is likely to fail. It means that there are certain receptors that are in the downstream area, which would be impacted in the event of an uncontrolled release of water. These receptors can range from domestic properties to ‘A’ roads or ancient scheduled monuments.

SEPAs approach to risk designation was developed in consultation with the industry through the Reservoirs Technical Review Group.

It is important to remember that the risk designation is not a reflection on the current management or condition of the reservoir.  Instead, it considers the potential impact on the surrounding area if flooding was to occur.

# Assessing the adverse consequences of an uncontrolled release of water

The approach to assessing the adverse consequences of an uncontrolled release of water draws on many of the methods and datasets that SEPA used for the National Flood Risk Assessment (2011). This ensures that the risk of flooding from all sources is assessed in a consistent manner. It takes into account the consequences on human health, economic activity, the environment and cultural heritage. These aspects have been split into the 7 following groupings.

| No. | Receptor | Description |
| --- | --- | --- |
| 1. | Human health: people | Potential risk to life attributed directly to an uncontrolled release of water. This does not include potential injuries, illness or risk to life resulting from secondary issues. |
| 2. | Human health: community | Important facilities that could cause community disruption if affected e.g. schools. |
| 3. | Economic activity: businesses | Number of business properties and the estimated weighted annual average damage of property |
| 4. | Economic activity: transport | Roads, railways and airports |
| 5. | Economic activity: agriculture | Agricultural land and forestry areas |
| 6. | Environment | Designated areas and their vulnerability to flooding |
| 7. | Cultural heritage | Cultural sites such as UNESCO World Heritage Sites |

When undertaking the risk designation process, SEPA takes a precautionary approach where there is uncertainty that human life would not be threatened in the event of an uncontrolled release of water.

Following the registration of a reservoir, SEPA is required to notify the Reservoir Manager with a provisional risk designation. Following this, a Reservoir Manager has 2 months in which to make a representation to SEPA if they feel the risk designation is incorrect. Following the end of the two month period SEPA will notify the Reservoir Manager, taking account of any representations, to inform them of the risk designation.

# A proportionate approach to reservoir regulation

The 2011 Act introduces a more proportionate approach to regulation for the reservoir industry. Reservoirs designated as high risk are subject to greater regulation than those in the medium and low risk category.

Reservoirs 1975                       Reservoirs (Scotland) Act 2011

| All sites required to appoint a Supervising Engineer to be available 24/7 & undertake regular inspections. All sites required to appoint an Inspecting Engineer at least once every 10 years (or when recommended by Supervising Engineer). | High Risk | Required to appoint a Supervising Engineer at all times. Required to appoint an Inspecting Engineer at least once every 10 years (or when recommended by Supervising Engineer). |
| --- | --- | --- |
|  | Medium Risk | Required to appoint a Supervising Engineer at all times. Only required to appoint an Inspecting Engineer when recommended by Supervising Engineer. |
|  | Low Risk | No statutory requirement to appoint either a Supervising or Inspecting Engineer. |

Reservoirs of high risk designation are only required to maintain their existing statutory level of inspection and monitoring, as per the 1975 Act. The level of statutory monitoring and inspection will reduce across those sites designated as medium or low risk.

# Further Information

For enquiries relating to the current regulation of your reservoir, please email reservoirs@sepa.org.uk or call us on 03000 996699.

For further information about the 2011 Act and its implementation visit SEPA’s website.