SEPA Planning Advice Note

Assessing the impact of developments on peatland and carbon rich soils

Version 2: July 2026

# Summary of changes

Version 2 (July 2026) replaces Version 1 (December 2025). The update provides greater clarity on SEPA's role in advising on development affecting peatland and carbon-rich soils, strengthens guidance on applying the mitigation hierarchy, requirements for Peat Management Plans and non-standard peat reinstatement proposals, clarifies the relationship with waste and use of excavated peat activities, and refreshes hyperlinks and references throughout.

# 1.	Context

  - National Planning Framework 4 (NPF4) sets the policy for all new development in Scotland and policy 5 covers soils. Its intention is to protect carbon-rich soils (CRS), restore peatlands and minimise disturbance to soils from development. Development on CRS, peatland and priority peatland will only be supported where it meets certain criteria listed in policy 5(c) i-v.

1.2	NPF4 defines CRS as organo-mineral and peat soils. Peatlands are defined in NPF4 by the presence of peat soil or peaty soil types. This means that “peat-forming” vegetation that is growing and actively forming peat or it has been grown and formed peat at some point in the past. This guidance uses the terminology of CRS and peatland as defined in NPF4.

1.3	All development proposals on CRS, including those listed in policy 5(c) i-v, require a detailed site-specific assessment to show how the development will be designed and constructed in accordance with the mitigation hierarchy.

1.4	The mitigation hierarchy sets out the order in which impacts of development should be considered and addressed: avoid impact, minimise by reducing the impact, restore, and offset by compensating for any residual impact.

1.5	NPF4 should be read and applied as a whole. Policy 5 has key policy links with several other policies, including policy 2, “Climate mitigation and adaptation”. The policy intent of policy 2 is to support development that minimises greenhouse gas emissions and adapts to current and future risks of climate change. The NPF4 Planning Guidance on Policy 2 – Climate Mitigation and Adaptation recognises the multiple benefits peatlands provide, including capturing and storing carbon.

2.	Relevant legislation

2.1	SEPA’s planning consultation advice on CRS aligns with our duties under the relevant legislation:

SEPA’s Statutory Purpose as contained in Section 20A of the Environment Act 1995 as it protects and improves the environment (land, air and water) and manages natural resources in a sustainable way.

The public bodies climate change duties as set out in the Climate Change (Scotland) Act 2009, require us through delivery of our functions to act in the way best calculated to support the delivery of emission reduction targets and that we consider to be most sustainable. By applying the mitigation hierarchy from NPF4 and following other relevant guidance we can ensure that the impact of development on existing carbon stores is minimised, avoiding release of greenhouse gas (GHG) emissions. In taking this approach, we can demonstrate that we have been supportive of development that contributes to net zero ambitions and that sustainability has been a key consideration.

Protecting functioning peatland and safeguarding the ecosystem services it provides including carbon sequestration, storing water, and supporting biodiversity aligns with the duties imposed on SEPA under the Water Environment and Water Services (Scotland) Act 2003 (WEWS Act), and the Nature Conservation (Scotland) Act 2004.

Article 2(1)(c) of the Waste Framework Directive excludes naturally occurring material excavated in the course of construction activities where it is certain the material will be used on site for the purposes of construction in its natural state. Onsite uses of CRS where certainty of use has been demonstrated in the Peat Management Plan or a similar document are therefore unlikely to require waste authorisation. However, onsite uses of CRS can be limited, especially where catotelmic peat is present due to its high water content and low tensile strength. It is therefore always preferable to avoid excavating peat in the first instance. Our On site management of excavated peat guidance provides further information on our waste position.

## 3.	SEPA’s role

3.1	Development proposals on CRS are not supported by NPF4 policy 5 unless they qualify as an exception under part c). We require to be consulted on Major development proposals that are located on peatland and other carbon rich soils, e.g. as identified as Class 1, 2, 3 or 5 on the NatureScot Carbon and Peatland 2016 map, and are an exception under policy 5 part (c) i-iv:

Essential infrastructure and there is a specific locational need and no other suitable site.

The generation of energy from renewable sources that optimises the contribution of the area to greenhouse gas emissions reductions targets.

Small-scale development directly linked to a rural business, farm or croft.

Supporting a fragile community in a rural or island area.

When consulting SEPA the determining authority should specify which of the NPF4 policy 5(c) i-iv exceptions apply.

3.2	We will only give advice in cases where the proposal falls within our consultation thresholds, and the determining authority has confirmed that one of the policy 5(c) i-iv exceptions applies. As policy 5(c) is self-explanatory, SEPA do not comment on non-exception proposals, applicants and planning authorities should instead refer to SEPA's standing advice. For proposals that do not meet any of the policy 5(c) exceptions, it is for the determining authority to consider the weight that should be given to the relevant development plan policies and any material considerations.

3.3	We also will not comment on restoration proposals either on or off site, covered by policy 5(c) v. NatureScot provides advice where peat is to be used for genuine restoration projects rather than reinstatement. Further advice on the framework NatureScot uses to provide advice can be found in Advising on peatland, carbon-rich soils and priority peatland habitats in development management and more detailed advice on peatland restoration techniques is available in the Peatland ACTION – Technical Compendium.

3.4	However, off-site use of CRS and use of excavated CRS on or off site where it is no longer in its natural state may require waste authorisation. Where this is the case, we would encourage developers to liaise directly with SEPA regulatory teams by emailing wastepermitting@sepa.org.uk and refer to our Waste guidance and position statements webpage.

4.	Development Management

4.1	Our Development Management Consultation Thresholds and Standing Advice sets out the types and scales of application that we should be consulted on and will provide a response to. Our standing advice should be used for applications that fall below these thresholds. Sites where peat surveys have identified that all or most of the soil is organo-mineral or peaty soil will also be covered by our standing advice. We will provide site-specific advice on the management of sites, as detailed in sections 3.1 and 3.2 above, where only peat is present or there is a mixture of peat and peaty/organo-mineral soils.

4.2	The current and any future updated NatureScot Carbon and Peatland 2016 map should be used initially to establish the likely presence of CRS (classes 1, 2, 3, and 5). It is a high-level indicative planning tool that will give an idea of whether CRS should be screened into an assessment. The 2016 map can be used together with local knowledge, site reconnaissance surveys and the national soil maps to assess the likely presence of CRS. The map and further information on soils can be found on the Scotland’s soils website.

4.3	The focus of our approach is to ensure development is designed and constructed in 	accordance with relevant guidance and the mitigation hierarchy in NPF4, by firstly 	avoiding the disturbance and excavation of CRS and then minimising, through best 	practice. A strategic approach to developing the spatial strategy for an area is key to avoiding CRS. Early site selection should be informed by the location of CRS to meaningfully demonstrate that the mitigation hierarchy has been followed. It would be useful for the site assessment to set out the decision-making process, demonstrating how alternative sites were considered and why the proposed site is the most suitable.

4.4	All development proposals on CRS sites must show, and justify, how the following requirements have been met on the proposed site, in the order set out below:

Avoidance of near-natural peatland and peat greater than 1 metre depth. Near-natural peatland is peatland that retains or has recovered its natural hydrology and vegetation, is dominated by peat-forming species, shows minimal signs of erosion, drainage, burning or grazing damage, and is actively functioning as a peat-forming ecosystem, as defined in the Guidance Peatland Action Peatland Condition Assessment Guide.

Avoidance of other CRS where there are alternative areas of the site where CRS are absent.

Minimisation of the absolute volume of peat material excavated and disturbed during construction, operational life and decommissioning.

Where avoidance of near-natural peatland and peat deeper than 1m cannot be achieved, and this is clearly justified, applicants should investigate and use less-intrusive construction methods to minimise impacts (e.g. floating tracks, piled foundations).

A contingency plan should be submitted to address situations where the proposed design becomes technically unfeasible; for example, if floating tracks cannot be installed due to construction stability issues and an alternative track design would require additional peat excavation. This is typically required at earlier planning stages where there is less certainty around the technical feasibility of the proposed layout.

Appropriate use and management of excavated peat in line with best practice.

4.5	NPF4 states: “A peat soil is defined in Scotland as when soil has an organic layer at the surface which is more than 50cm deep. Organo-mineral soil or peaty soil is soil which has an organic layer at the surface less than 50cm thick and overlies mineral layers (e.g. sand, silt and clay particles).” The 1m threshold is used as a project design tool to minimise disturbance of deeper peat and the associated impacts on carbon storage, hydrology, greenhouse gas emissions, natural water storage capacity and flood risk. This approach is in accordance with NPF4 policy 2(a), which requires development proposals to be sited and designed to minimise lifecycle greenhouse gas emissions as far as possible.

4.6	Avoiding near-natural peatland protects these nationally important habitats from development, prevents creation of new sources of GHG emissions, and protects the ecosystem services they provide, including carbon storage and sequestration, water retention and habitats for biodiversity. We will therefore seek complete avoidance of development on these habitats. Clear justification will be required where near-natural peatland cannot be avoided. The justification should detail how impacts have been considered in line with the mitigation hierarchy, as demonstrated through the Peat Management Plan (PMP) submission. This should also be supported by maps with overlays of the peat maps and any other constraints to clearly demonstrate how these constraints have influenced any necessary need for development on peatland.

4.7	Avoidance of other CRS on site, wherever possible, is sought to limit loss of habitat or areas that could be restored to a neutral or carbon positive sequestering state and to minimise the loss of soil carbon to air or water.

5.	Assessment

5.1	In line with part d) of NPF4 policy 5, a detailed assessment will be required to inform the design of development proposals in accordance with the mitigation hierarchy. As indicated in section 4.4 above, this includes avoiding areas of near-natural peat and deeper peat (greater then 1m) in the first instance, and then areas of other CRS. We will lodge an objection if insufficient information is provided to demonstrate this.

5.2	The submission should include a series of layout drawings overlaid on peat depth surveys showing interpolated peat depths. In line with the Peatland Survey – Guidance on Developments on Peatland (2017) the peat survey should assess the presence of any peat layer, including peat less than 50cm deep. The layout drawings should be at a usable scale and show all permanent and temporary infrastructure, ancillary construction work areas and the extent of excavation required and include any potential micrositing allowance areas.

5.3	The peat depth survey should show peat probe locations, colour coded using distinct colours for each depth category. This must include adequate peat probing information to inform the site layout in accordance with the mitigation hierarchy in NPF4, which may be more than that outlined in the Peatland Survey – Guidance on Developments on Peatland (2017).

5.4	A Peatland condition mapping assessment should also be submitted – the Peatland Condition Assessment photographic guide lists the criteria for each condition category and illustrates how to identify each condition category.

5.5	The outline Peat Management Plan (PMP) must include:

- A table setting out the volumes of acrotelmic, catotelmic amorphous peat and peaty organic soils to be excavated. A contingency factor should be included to account for variables such as bulking and uncertainties in volume estimates.

- A table clearly setting out the volumes of acrotelmic, catotelmic, amorphous excavated peat and peaty organic soils to be used in:

- Standard reinstatement works (e.g. making good site-specific areas disturbed by development, including borrow pits using <2 m of peat located within existing peat areas).

Non-standard reinstatement works (e.g. >2 m of peat in borrow pits and use of excavated peat in other landscaping or reinstatement works).

On- or off-site peatland restoration.

Peat with no intended use.

- Confirmation that standard reinstatement works follow recognised best practice, such as that set out in Good Practice During Wind Farm Construction. Note that SEPA will generally not provide site-specific advice on issues covered by published best practice.

- Where non-standard reinstatement works are proposed, such as those using bunds or cells, it must be demonstrated that the proposal is capable of protecting the carbon in the peat without causing harm to the environment. For the purposes of this guidance, this applies to bunds associated with the large-scale use, storage or management of excavated peat. It does not apply to peatland restoration techniques described in the Technical Compendium nor to landscape bunds, as recognised best practice is that peat should not be used for this purpose due to its tendency to degrade.

- Adequate information and evidence to demonstrate the following should be provided:

Habitat objectives and site suitability

Identification of the target wetland habitat(s) to be achieved.

The target habitat(s) are compatible with surrounding habitats.

Hydrological and ecological connectivity with surrounding habitats and the water table will be achieved.

The peat type is suitable for the proposed use.

The proposals will maintain or enhance the carbon storage function of the peat and minimise greenhouse gas emissions.

  - Design and engineering requirements

Where appropriate, for example for borrow pit reinstatement, cross sections and plans showing:

Hydrological justification for the use of catotelmic peat.

Maximum peat depth profiles for each category of peat.

Final restoration profiles relative to surrounding land.

Phasing of reinstatement works.

Peat management and construction methodology

The proposed method minimises peat movement and maintains peat structure.

All temporary storage and handling of peat follow the good practice set out in Good Practice during Wind Farm Construction.

Peat excavation, storage and placement will allow peat layers to be reproduced.

Peat will be used as close as possible to its point of excavation to minimise handling and transport.

Any other best practice methods that will support habitat creation.

  - Delivery programme

A timeframe for the establishment of target habitat(s).

A timetable of works.

  - Monitoring, success criteria and contingency measures.

An outline of the monitoring proposals, including defined success criteria.

Clearly defined criteria that will initiate corrective action(s).

Details of the measures to be implemented if monitoring indicates that:

The target habitats are not functioning as wetland habitat.

Sufficient hydrological connection has not been achieved.

The peat condition is degrading.

  - Long term management and aftercare.

An aftercare scheme detailing how these will be maintained and managed in perpetuity.

  - Environmental protection and site safeguards

The works comply with the Recommended Riparian Corridor Layer guidance.

A 50 m buffer has been applied where peat greater than 1 m deep is excavated near water.

Any required safety, operational or other land management measures are identified, including whether they are temporary or permanent.

Where land levels are raised, appropriate stability measures will be implemented (noting that SEPA does not advise on stability issues but may highlight the issue to the determining authority where relevant).

This information should be clearly presented and set out within the planning submission. Any departures from good practice, breaches of specified requirements, or areas of non-compliance should all be clearly identified/signposted, justified and accompanied by appropriate mitigation measures.

5.6	Excavated material certain to be used for construction purposes in its natural state on the site from where it is excavated will not be subject to waste regulatory controls. Further advice on waste regulatory controls can be found in SEPA’s Onsite Management of Excavated Peat guidance.

5.7	We will lodge an objection where insufficient information is provided to demonstrate that the development complies with the NPF4 mitigation hierarchy, or where the proposed use of excavated peat would harm the environment or would not produce a viable habitat capable of maintaining the carbon storage function of the peat and minimising greenhouse gas emissions.

6.	Local Development Plan site appraisals

6.1	The protection of carbon-rich soils (CRS) should be considered when developing the spatial strategy in line with NPF4 policy 5. The Scottish Government’s LDP guidance recognises soils as one of our most valuable assets and highlights the wider benefits they provide, including carbon sequestration, natural flood alleviation and blue-green infrastructure. NPF4 policy 2 also requires the spatial strategy to be informed by an understanding of the impacts of the proposals on greenhouse gas emissions, helping to guide development away from environmentally vulnerable areas.

6.2	The Evidence Report should identify the distribution and likely extent of peatland and other CRS within the plan area and use this information to inform both the plan’s spatial strategy and the site selection process. The aim should be to deliver the intent of NPF4 policy 5 by protecting and restoring these valuable soils so that they can continue to store and sequester carbon while provide essential ecosystem services for nature, people and the economy.

6.3	The NatureScot carbon and peatland map 2016 and any subsequent updates, should be used as the primary evidence source to identify the likely presence of CRS (classes 1, 2, 3 and 5) and inform spatial strategies. As the map is a strategic planning tool, it should be used to inform plan-making and site selection rather than as a substitute for site-specific survey work. More detailed investigation may be required where sites are being   considered for development. The map and further information on soils can be found on the Scotland’s soils website.

6.4	As set out in our Site Appraisal guidance we do not require to be consulted on site allocations located on peatland and other CRS. The soil information in the Evidence Report, and where necessary a soil assessment, should be used to inform site allocations in line with NPF4 policy 5. As outlined in Section 3 above, we require to be consulted on development management proposals on peatland and other CRS e.g. as identified as Class 1, 2, 3 or 5 on the NatureScot Carbon and Peatland 2016 map, that fall within our consultation thresholds. It is at the development management stage that we provide detailed site-specific advice in line with Section 4 above.

6.5	Any development that is not an exception set out in NPF4 policy 5(c) must avoid peatland, CRS and priority peatland. The information in the Evidence Report should be used at an early stage to avoid the allocation of sites on peatland and other CRS. Where the current, or any future version, of the NatureScot carbon and peatland map 2016 indicates the potential presence of peat or other CRS, a more detailed peat depth survey should be undertaken to establish the extent and distribution of peat and other CRS across the site and determine the area, if any, of the site that could be developed in line with the requirements of NPF4 Policy 5(c).

6.6	The findings of this work may have implications for the viability of the proposed allocation. Where peat or other CRS is limited in extent, it may be possible to accommodate development while avoiding affected areas. However, where peat or other CRS cover a substantial proportion of the site, the developable area may be significantly constrained, potentially affecting the allocation's viability and requiring consideration of alternative sites.

6.7	Exceptionally, we may provide technical advice on the application of the mitigation hierarchy, but only after the allocation has gone through the initial site/SEA assessment and is considered potentially viable and when supported by suitable probing information.

If you would like this document in an accessible format, such as large print, audio recording or braille, please contact SEPA by emailing equalities@sepa.org.uk