# Major non-compliance: waste

Table 1: Major impact of the authorised activity

| Authorisation condition | Major non-compliance | How will SEPA assess / supporting guidance | Return to compliance examples |
| --- | --- | --- | --- |
| Any authorisation condition. | Non-compliance causes or is likely to cause: - Category 1 or 2 environmental event. - Breach of water or air quality standard or - Significant adverse trend for groundwater. | - Environmental events guidance. - Determine if any environmental standards have been breached. - Local environmental standard. - Groundwater monitoring, investigation or modelling demonstrates significant and sustained adverse trend. | Demonstration that the cause or likely cause of the harm has ceased or been resolved. This can include monitoring and modelling. |
| Conditions covering the control of nuisance, including but not limited to odour, noise, dust, litter, aerosols and the presence of vermin. | Non-compliance causes or is likely to cause: - Category 1 or 2 environmental event. - Noise emission that leads to significant adverse impact. - Odour emission that leads to offensive odour as defined by odour guidance. | - Environmental events guidance Odour guidance. - Noise: events categorisation guidance. | - ​Demonstration that the cause or likely cause of the harm has ceased or been resolved. - ​Operator conducts monitoring or modelling to indicate compliance. |
| ​Single tier numeric limits set to achieve environmental standards. | - ​More than twice the limit specified in authorisation. - Exceptions: - pH: limit exceeded by more than 1 unit. - Temperature: exceeded by more than 5oC. | Assess against authorisation limit using: - SEPA monitoring data. - Operator self-monitoring. | Major non-compliance remains until next compliant sample. |

Table 2: Scope of site

| Authorisation condition | Major non-compliance | How will SEPA assess / supporting guidance | Return to compliance examples |
| --- | --- | --- | --- |
| Authorised activity. | Authorised person undertaking any waste activities (accepting, processing, storage of waste) outwith site boundaries or permitted working areas. | Site inspection. | - ​Unauthorised activity has ceased. - Any unauthorised waste has been removed, or authorisation has been varied to include the activity or waste type. |
| Limit on the amount of waste that can be accepted, stored or treated on a site. | Exceeding the limit that is authorised for acceptance, storage or treatment on site where the authorised person is unable to manage the material in an effective manner – causing or likely to cause a Category 1 or 2 environmental event. | - Site inspection, including on-site records review. - Data return review. | ​Amount of waste stored on site reduced to within maximum storage limits. Major non-compliance can be reduced to non-compliance once levels no longer cause or are likely to cause a category 1 or 2 environmental event. |
| Type of waste that can be accepted. | - Accepting unauthorised waste. - Allowance made for some unauthorised waste entering site and being dealt with in accordance e.g. via quarantine procedures. Only where this does not happen, is this deemed major non-compliance. - The waste is not appropriate for use and / or is likely to have an adverse impact on remediation and / or improvement of land. | - Site inspection, including on-site records review. - Data return review. | - ​Unauthorised waste has been removed from site or is dealt with according to procedure. - Where that is not possible, information submission that includes: - Corrective actions and reasons for accepting unauthorised wastes. - Assessment of the likely impact. - Evidence that the waste is no longer being accepted. - SEPA will assess submission and ascertain if enough information is provided to resolve MNC. |

Table 3: Understanding of authorised activities

| Authorisation condition | Major non-compliance | How will SEPA assess / supporting guidance | Return to compliance examples |
| --- | --- | --- | --- |
| Requirement to report incidents and events (either in operation of plant or environmental events). | - Unless specified otherwise in the authorisation, failure to notify SEPA within 24 hours of an event that has caused or could cause an adverse impact upon the environment and human health. - Failure to submit a report within 14 days or the report does not comply with the information requirements specified in the authorisation. | - Assess incident against incident or event conditions in authorisation and environmental events guidance. - Operator incident report submitted in accordance with authorisation conditions. | - The operator has notified SEPA of the incident or event and provided a report of adequate quality. - Operator has put systems in place to ensure that incidents are reported within the required timescale. |
| Requirement to submit data (records, reports, data). | Failure to make a routine data return (including nil returns) of adequate quality within 30 days of the required submission date. | - SEPA will assess submission to confirm it has been received within the correct timescale. - Adequate quality includes a data report that has the required evidential data e.g. numerical measurements but also compliance context. If the report is not in the correct format and can’t be assessed. - If operator is near the compliance limit, information should be included about how this will be managed going forward. | - Required data submission. - Or if no data available, MNC will be resolved on receipt of an information submission that includes: - Corrective actions and reasons for missing information. - Assessment of the likely impact from missing data. - Evidence that the records are now being recorded and kept. - SEPA will assess submission and ascertain if enough information is provided to resolve MNC. |
| Requirement to keep records. | - Failure to provide upon request information required by the authorisation. - Information submitted is not true and accurate. - Records are not kept for the minimum duration. | - Records not kept or available on site. - No information provided when requested. | - Required data submission. - Or if no data available, MNC will be resolved on receipt of an information submission that includes: - Corrective actions and reasons for missing information. - Assessment of the likely impact from missing data. - Evidence that the records are now being recorded and kept. - SEPA will assess submission and ascertain if enough information is provided to resolve MNC. |

Table 4:  Overall management of authorised activities

| Authorisation condition | Major non-compliance | How will SEPA assess / supporting guidance | Return to compliance examples |
| --- | --- | --- | --- |
| Authorised person must ensure compliance with the conditions of this authorisation. | Non-compliance causes or is likely to cause a Category 1 or 2 environmental event. | Ensuring compliance with conditions requires an authorised person to have robust management control measures in place. In assessing compliance with this condition, the following will be considered: - Technical competence. - Ability of responsible person on site during inspection to demonstrate knowledge of authorisation requirements and operational pollution control procedures and processes required to ensure compliance. - Staff training to ensure compliance. - Adherence to management plans and processes. - How plant and equipment is being operated and maintained. - Monitoring equipment is not present or not calibrated in line with the manufacturer’s guidance, so operator has no early warning of a likely Category 1 or 2 event. | - Management system in place to control the site activities in accordance with the authorisation. - Activities have ceased or reduced to levels that no longer cause or are likely to cause a category 1 or 2 environmental event. - Evidence that site equipment or infrastructure is installed and operating in accordance with the authorisation. |
| Compliance with authorisation conditions. | - Multiple non-compliance (same or different conditions) that cumulatively equate to major non-compliance. - The major non-compliance will be against the condition that places the responsibility on the Authorised Person to ensure compliance with the conditions of the authorisation. | Having regard to condition-specific guidance where this exists and / or environmental events guidance and events records. - Greater than or equal to four category 3 events within a 365-day period that have been caused by a breach of the same condition. - Unless otherwise stated within the site authorisation, multiple non-compliance breaches may be considered collectively as major non-compliance depending on the particular circumstances. SEPA's assessment will be subject to additional governance checks to ensure national consistency in decision-making. | - Demonstration that the cause or likely cause of the harm has ceased or been resolved. This can include monitoring or modelling. - Remedial actions will be specific for each non-compliance. However, evidence must demonstrate that all of the conditions identified as cumulatively equating to major non-compliance are now compliant. |
| Site working plan. | - Working plan unobtainable or inadequate (fails to reflect operations on site). - Following major non-compliance if likely to cause a Category 1 or 2 environmental event, otherwise non-compliant - Lack of staff awareness of pollution control techniques outlined in working plan. - Processes undertaken not in accordance with working plan. | Investigation by inspecting officer. | - ​Working plan revised to reflect operations on site. - ​Evidence provided of appropriate management interventions to ensure staff working in accordance with working plan. - When an acceptable management plan is submitted. - SEPA will assess submission and ascertain if enough information is provided. |
| Site security. | Inadequate site security where non-compliance is likely to cause a Category 1 or 2 environmental event. | Investigation by inspecting officer on site. | Evidence submitted to show security issues resolved. |
| Acceptance of waste. | - Failure to implement appropriate pre-acceptance audit procedures on receipt and / or at the point of disposal. - Failure to provide and maintain a calibrated weighbridge at the authorised place where required by the authorisation. - ​Failure to record and weigh all waste accepted at the authorised place using the weighbridge where required by the authorisation. | - Assessment by document review with reference to AMSG: Guidance for the storage and treatment of healthcare waste. Pre-Acceptance Audit must be satisfactory. - Inspection of weighbridge records. - Refer to Authorised Wastes & Quantities Schedule of authorisation. | - ​Demonstration that pre-acceptance procedures are being implemented. - ​Evidence of a calibrated weighbridge certificate provided. |
| Management of hazardous material. | Hazardous waste must not be mixed with any other waste, substance or materials. | Inspection and environmental events guidance. | ​Evidence submitted that shows material appropriately segregated and management measures implemented to prevent future condition breach. |

Table 5: Wider legal environmental requirements and financial non-compliance

EPAS is designed to provide a more accurate picture of legal environmental compliance. Under EPAS we will therefore assess compliance of the following situations as it is important a performance rating reflects this. In addition to below, our intent is to develop major non-compliance criteria for duty of care and special waste regulation contraventions and start to use these at the same time.

| Contravention | Major non-compliance | How will SEPA assess / supporting guidance | Return to compliance examples |
| --- | --- | --- | --- |
| Undertaking a regulated activity without authorisation. | Undertaking a regulated activity without authorisation. For example: - Unauthorised direct discharge into groundwater. - Unauthorised discharge to surface water. - Unauthorised Directly Associated Activities. | SEPA will check if an activity is being carried out that is not covered by an appropriate authorisation. | ​Unauthorised activity ceases, or authorisation is varied to include the activity, or appropriate authorisation obtained. |
| Environmental event at an authorised site that is unrelated to the authorised activity. | Causes: - Category 1 or 2 environmental event. - Breach of water or air quality standard. - Significant and sustained adverse trend for groundwater. | - Environmental events guidance. - Determine if any environmental standards have been breached. - Local environmental standard e.g. spatial standard breach. - Groundwater monitoring or investigation shows, or modelling demonstrates, significant and sustained adverse trend. | ​Demonstration that the cause or likely cause of the harm has ceased or been resolved. This can include monitoring and modelling. |
| Failure to comply with requirements of The Persistent Organic Pollutants Regulations 2007. | - Failure to dispose of or recover POPs-contaminated waste in such a way as to ensure that the POPs content is destroyed or irreversibly transformed. - Undertaking any disposal or recovery operations that may lead to recovery, recycling, reclamation or reuse on their own of the POPs-contaminated wastes. | Assessment against Guidance on the management of Waste Upholstered Domestic Seating (WUDS) containing Persistent Organic Pollutants (POPs) and the overarching requirements of The Persistent Organic Pollutants Regulations 2007. | Compliance with POPs regulations e.g. appropriate segregation, evidence of destruction via incineration. |
| Non-payment of annual charges | Escalation to debt collection or if debt goes into the next financial year. (Non-compliance is when payment is more than 90 days late.) | Monthly debtors report. | Payment of annual charges. (Payment plan agreed with SEPA is equivalent to a compliance recovery plan.) |

<Report date here (month, year)>

For information on accessing this document in an alternative format or language, please contact SEPA by email or telephone 0300 099 6699.

If you are a user of British Sign Language (BSL), the Contact Scotland BSL service gives you access to an online interpreter, enabling you to communicate with us using sign language.

Adequate quality means containing the required information to enable the assessment of compliance with authorisation conditions.

Note: Acceptance of waste is only applicable where it is included as an authorisation condition.

Modelling can be used to predict area of impact, and / or test if it breaches spatial standards.